## Sheet1
sys | description
ADA | 220 kV Line
ADB | Grid - 220 kV ODS
AQA | Grid - 220 kV ODS Meas & Meter Equip
BAA | Generator Main Line
BAB | Foundation Cabinets
BAC | 13.8kV Generator Circuit Breaker
BAT | 13.8/220kV Generator TFMR
BAW | Earthing & Lightning Protect Sys
BBA | 11kV MV Switchgear & MCCs
BBB | 3.3kV MV Switchgear & MCCs
BBF | 13.8/11.55kV Field TFMR
BBG | 13.8/3.45kV Unit TFMR
BFA | 400V Non-Essential SWGR & MCCs
BFB | 400V Essential SWGR & MCCs
BFC | 400V Non-Essential Control Centre
BFD | 400V Essential Control Centre
BFT | Aux TFMR A
BFU | Aux TFMR B
BHA | Station Serv 400/230VAC Aux Dist Board A
BHT | Station Serv TFMR
BKA | Admin Building DB
BKB | Small Power & Lighting DB A
BKC | Small Power & Lighting DB B
BMA | LV Emergency Power Dist Board
BMB | Emergency Lighting System
BRA | UPS System A
BRB | UPS System B
BRC | 230 VAC UPS Dist Board A
BRD | 230 VAC UPS Dist Board B
BRV | Emergency Diesel Generator System
BTA | 110 VDC Battery Bank A
BTB | 110 VDC Battery Bank B
BTL | Battery Charger - Bank A
BTM | Battery Charger - Bank B
BUA | 110 VDC System A
BUB | 110 VDC System B
BUC | 110 VDC Distribution Board A
BUD | 110 VDC Distribution Board B
CFQ | Cab Recording (Revenue Metering)
CHA | Gen & TFMR Protection MAIN 1
CHB | Gen & TFMR Protection MAIN 2
CRA | STATION SERVICES 400V MAIN SWBD A
CRJ | Automation System, SIS
CRS | Process Control Comms & Info Sys
CRT | Process Control Clock Comms Equip
CRU | Operation and Monitoring System
CVA | Services - C&I Marshalling Panels
CVB | Ops Floor - C&I Marshalling Panels
CYA | Local Comm Network Connection
CYK | Site Intercom & PA
CYP | Site Security Surveillance Monitor
CYS | Radio Telephone Communication Sys
CYT | Intrusion Detection System
CYU | Site Access Control Systems
CYW | Site Wide Comms and Info System
CYX | Group Data Comms and Info System
CYY | Site Environmental Info System
GAC | Piping and Channel System
GAD | Storage Tanks
GAF | Raw Water Pumps
GKA | Supply System
GKB | Storage, Forwarding, Dist Sys
GMA | Oily Water System incl. separator
GMB | Condensate Drainage System
GMC | Condenser Pit Drainage System
GNB | Filtering, Mechanical Cleaning Sys
GQA | Sanitary Waste System
GUA | Turbine Building Drains System
GUS | Stormwater Drains System
LBA | HP Steam Piping System
LBB | IP Steam Piping System
LBC | LP Steam Piping System
LBG | Auxiliary Steam Piping System
LBJ | Steam and Moisture Separators
LBU | Common Dump Line
LBY | Steam Sampling and Analyser System
LCA | Main Condensate (CW) Piping Sys
LCB | Main Condensate (CW) Pump Sys
LCE | Wash Wtr & Dilution Wtr Piping Sys
LCL | Steam Line Drains
LCW | Seal Water System
LFC | Common Drain and Vent Systems
MAA | Steam Turbine - HP & Common Sys
MAB | Steam Turbine - IP
MAC | Steam Turbine - LP
MAD | Bearings
MAG | Condensing System
MAJ | Gas Extraction System
MAK | Turning Gear
MAL | Turbine Drains to Condenser
MAQ | Vent System
MAV | Lubricant Supply System
MAW | Gland Seal Steam System
MAX | Control Oil System
MAY | Electrical Control & Protect Equip
MKA | Generator System
MKC | Generator Exciter Set
MKJ | Gen Stator/Rotor Air Cooling Sys
NAA | Steam Piping System
NAB | Condensate Piping System
NDA | Production Piping Sys, incl 2-ph
NDB | SGW Reinjection Piping Sys
PAB | Cooling Wtr Piping & Culvert Sys
PAC | Cooling Water Pump System
PAD | Recirc & Outfall Cooling Systems
PBB | Filtering, Mechanical Cleaning Sys
PBK | Biocide Piping/Storage/Pump Sys
PCB | Auxiliary Cooling Water System
PGB | Component Cooling Water System
PGC | Component Cooling Water Pumps
PHK | Piping/Temp Storage/Pump System
QCH | NaOH Sply & Distribution System
QCM | Sulphuric Acid Supply & Dist. System
QFA | Control Air Generation System
QFB | Control Air Distribution System
QSX | Fluid Sply Sys - Ctrl & Prot Equip
SCA | General Comp Air Generation Sys
SCB | General Comp Air Distribution Sys
SGA | Fire Water System
SGJ | CO2 Fire Fighting System
SGL | Dry Powder Fire Fighting System
SGY | Fire Control & Protect Equip Sys
SMA | Cranes & Hoists - Turbine/Gen Bldg
SMB | Cranes & Hoists - Workshop
SNC | Turbine Hall Service Lift
SQA | Site Road Lighting
UAH | Structure for Supports and Equipment
UBK | Structure for Transformers
UBZ | Underground Conduit System
UGA | Structures for Raw Water Supply
UGC | Structures for Condensate Channels
UGG | Structures for Domestic Water Sply
ULF | Structure for HP, IP & LP Scrubs
ULG | Structure for Rock Mufflers
ULH | Structure for Atmos Flash Tank
ULJ | Structure for HP, IP & LP Seps
ULK | Structure for SGW Piping Culverts
UMA | Turbine - Generator Building
UMC | Structure for NCG Extraction
UMD | Turbine Pedestal
URA | Cooling Tower Structure
URH | Cooling Twr Cooled Wtr Collection
URT | Cooling Water Pump Pit
USG | Fire Pump House
UTC | Structures for Auxiliary Water Systems
UTP | Structures for Biocide Dosing
UTQ | Structures for Acid Dosing
UTR | Structure for Chemical Storage
UYC | Administration Building
UZA | Works Roads, Paths & Assoc Strcts
UZC | Site Grounds
UZF | Lifting Gear Structures
UZJ | Fencing & Gates
UZK | Site Landscaping
UZL | Noise Abatement Structures
UZM | Protective Strct from Ext Impact