## Sheet1
FULL WORD | ABBREVIATION
ABRASIVE | ABR
ABSOLUTE | ABS
ACCELERATE | ACCEL
ACCELERATION | ACCEL
ACCUMULATOR | ACCUM
ACOUSTIC | ACST
ACROSS FLATS | AF
ACTIVATED CARBON FILTER | ACF
ACTUATED | ACTD
ACTUATING | ACTG
ACTUATOR | ACTR
ADDITIONAL | ADDNL
ADHESIVE | ADH
ADJUSTABLE | ADJ
ADMINISTRATION | ADMIN
AFTERCOOLER | AFTCLR
AHUROA GAS STORAGE | AGS
AIR CONDITION | AIRCON
AIR CONDITIONER | AIRCON
AIR CONDITIONING | AIRCON
AIR EJECTOR | AE
AIR HANDLING UNIT | AHU
ALIGN | ALGN
ALIGNED | ALGN
ALIGNING | ALGN
ALKALINE | ALK
ALTERNATING CURRENT | AC
ALTERNATOR | ALT
ALUMINIUM | AL
AMBIENT | AMB
AMMONIA | NH3
AMPERE | A
AMPLIFIER | AMP
ANALOG | ANLG
ANALYSER | ANAL
ANALYSIS | ANAL
ANCILLARY | ANC
AND | &
ANGLE | ANG
ANGULAR | ANGR
ANION | ANI
ANNEALED | ANN
ANTI-CONDENSATION | ANTICOND
APPARATUS | APRTUS
APPLIED | APPLD
ARMATURE | ARM
ARMOURED | ARMD
ASSEMBLY | ASSY
ASSISTANCE | ASST
ASSISTED | ASST
ASSORTED | ASTD
ATMOSPHERE | ATM
ATMOSPHERIC | ATM
ATTEMPERATOR | ATTM
AUDIBLE | AUD
AUGMENTATION | AUG
AUTOMATIC | AUTO
AUTOMATIC VOLTAGE REGULATOR | AVR
AUXILIARIES | AUX
AUXILIARY | AUX
AUXILIARY COOLING WATER | ACW
AVERAGE | AVG
BACKWASH | BKWSH
BALANCE | BAL
BALANCE OF PLANT | BOP
BALANCED | BAL
BALANCING | BAL
BANK | BNK
BARRING GEAR | BAR GR
BASEMENT | BSMT
BATTERIES | BATT
BATTERY | BATT
BEARING | BRG
BELLOWS | BLWS
BETWEEN | BTWN
BINARY | BNY
BIOCIDE | BIOCD
BIOREACTOR | BIORR
BLOCK | BLK
BLOCK AND BLEED | BB
BLOWDOWN | BDWN
BLOWER | BLWR
BLUE PHASE | BØ
BOARD | BRD
BOILER | BLR
BOILER FEED PUMP | BFP
BONNET | BON
BOOSTER | BSTR
BOTTLE | BTL
BOTTOM | BTM
BRANCH | BRCH
BREAKER | BRKR
BREATHER | BRTHR
BRIGADE | BRGDE
BRINE | BRN
BRISTLE | BRSTL
BRITISH ASSOCIATION | BA
BRITISH STANDARD FINE | BSF
BRITISH STANDARD PIPE | BSP
BRITISH STANDARD PIPE PARALLEL | BSPP
BRITISH STANDARD PIPE TAPERED | BSPT
BRITISH STANDARD WHITWORTH | BSW
BROADLANDS (OKI) STEAMFIELD | BR00
BRUSHGEAR | BRGR
BUCHHOLZ | BUCHZ
BUILDING | BLDG
BURNER | BNR
BURSTING DISK | BDISK
BUSBAR | BUS
BUTTERFLY | BFLY
BUTTON | BTTN
BYPASS | BYP
CABINET | CAB
CABLE | CBL
CALCULATE | CALC
CALCULATOR | CALC
CALIBRATION | CAL
CAPACITANCE | CAP
CAPACITOR | CAP
CAPILLARY | CPLY
CARBON | CRBN
CARBON DIOXIDE | CO2
CARBON MONOXIDE | CO
CARBON STEEL | CS
CASING | CSG
CATHODIC PROTECTION | CP
CATION | CAT
CAUSTIC SODA | NAOH
CELCIUS | C
CENTRAL PROCESSING UNIT | CPU
CENTRE | CTR
CENTRIFUGAL | CENT
CERTIFICATE/CERTIFICATION | CERT
CHAIN | CHN
CHAMBER | CHMBR
CHANGE | CHG
CHANGEOVER | C/O
CHANNEL | CHNL
CHARGER | CHGR
CHECK | CHK
CHEMICAL | CHEM
CHILLER | CHILL
CHLORINE | CL2
CIRCUIT | CCT
CIRCUIT BREAKER | CB
CIRCULATING | CIRC
CIRCULATING WATER | CW
CIRCULATING WATER PUMP | CWP
CIRCULATING WATER PUMP SET | CWPSET
CIRCULATION | CIRC
CLARIFIER | CLRFR
CLEANING | CLNG
CLEARANCE | CLNC
CLOSED | CL
CLOSED COOLING WATER | CCW
CLOSED COOLING WATER PUMP | CCWP
CLOSED COOLING WATER PUMP SET | CCWPSET
CLYDE POWER STATION | CYD
COAGULANT | COAG
COALESCER | COESR
COAXIAL | COAX
COLD REHEAT | CLD RHT
COLUMN | COL
COMBUSTION | COMB
COMBUSTOR | COMB
COMMON | COM
COMMUNICATION | COMMS
COMMUNICATIONS | COMMS
COMMUTATOR | CMTR
COMPONENT | CPNT
COMPOSITE | CMPST
COMPOUND | CMPD
COMPRESSED | COMP
COMPRESSOR | COMP
COMPUTER | CMPTR
CONCENTRATE | CONC
CONCENTRATED | CONC
CONCENTRATION | CONC
CONDENSATE | COND
CONDENSATE EXTRACTON PUMP | CEP
CONDENSATE EXTRACTON PUMP SET | CEPSET
CONDENSATE POLISHING PLANT | CPP
CONDENSATE RECIRC PUMP | CRP
CONDENSATE TRANSFER PUMP | CTP
CONDENSER | CONDR
CONDITION MONITORING | CONMON
CONDUCTIVITY | CONDY
CONDUCTOR | CDCTR
CONDUIT | CNDT
CONFIRM/CONFIRMATION | CONF
CONNECT | CONN
CONNECTION | CONN
CONNECTOR | CONN
CONSERVATOR | CONSERV
CONSTRUCT | CONST
CONSTRUCTION | CONST
CONSUMABLE | CONS
CONTACT ENERGY (CLYDE) | CEC
CONTACT ENERGY (NEW PLYMOUTH) | CEP
CONTACT ENERGY (WELLINGTON) | CEW
CONTACTOR | CONT
CONTAINER | CNTR
CONTINUOUS EMISSIONS MONITORING SYSTEM | CEMS
CONTRACTOR | CTRTR
CONTROL | CTRL
CONTROL AND INSTRUMENTATION | C&I
CONTROL CENTRE | CC
CONTROL VALVE | CV
CONTROLLER | CTRL
CONVERTOR | CONVTR
COOLANT | COOLT
COOLER | CLR
COOLING | CLG
COOLING TOWER | CLGTWR
COOLING WATER | CW
COOLING WATER MAKE UP | CWMU
COOLING WATER MAKE UP PUMP | CWMUP
COOLING WATER MAKE UP PUMP HOUSE | CWMUPH
COOLING WATER MAKE UP PUMP SET | CWMUPSET
COPPER | CU
CORROSION | CRSN
COUNTERSUNK | CSK
COUPLER | CPLR
COUPLING | CPLG
CRITICAL | CRIT
CROSSFLOW | XFLO
CROSSOVER | XOVR
CROSSUNDER | XUNDR
CUBICLE | CUB
CULVERT | CVRT
CURRENT TRANSFORMER | CT
CYCLONE | CYC
CYLINDER | CYL
CYLINDRICAL | CYLCL
DAMPER | DMPR
DATA LOGGER | DLGR
DEAERATION | DA
DEAERATOR | DA
DECREASE | DECR
DEGASSER | DEGAS
DEGREE | DEG
DELETE | DEL
DELIVERY | DELVY
DELUGE | DELG
DEMINERALISATION | DEMIN
DEMINERALISED | DEMIN
DEMINERALISER | DEMIN
DESUPERHEATER | DSHTR
DETECTOR | DET
DETRAINING | DETRNG
DEVICE | DVC
DEWATERING | DWTR
DIAL TEST INDICATOR | DTI
DIAPHRAGM | DIAPH
DIESEL | DSL
DIFFERENTIAL | DIFF
DIFFERENTIAL PRESSURE | DP
DIFFERENTIAL PRESSURE TRANSMITTER | DPT
DIGITAL | DIG
DILUTE | DIL
DILUTION | DIL
DIRECT | DIR
DIRECT CURRENT | DC
DIRECTION | DIR
DIRECTIONAL | DIR
DISCHARGE | DISCH
DISCONNECTOR | DIS
DISPLACEMENT | DISPL
DISSOLVED GAS ANALYSIS | DGA
DISTRIBUTED CONTROL SYSTEM | DCS
DISTRIBUTION | DIST
DISTRIBUTION BOARD | DB
DIVERSION | DVSN
DIVERTER | DVRT
DOMESTIC | DOM
DOSING | DOSG
DOUBLE | DBL
DOUBLE BLOCK AND BLEED | DBB
DOWN | DWN
DOWN HOLE | DWNHL
DOWNCOMER | DWNCMR
DOWNSTREAM | DNSTRM
DRAIN | DRN
DRAINAGE | DRN
DRAINING | DRN
DRAINS | DRN
DRAWING | DWG
DRIVE | DRV
DRIVE END | DE
DRIVEN | DRVN
DRYER | DRY
DUCTING | DUCT
DUPLEX | DPLX
DYNAMIC | DYN
EARTH SWITCH | ES
EARTHING | EARTH
ECCENTRICITY | ECC
ECONOMISER | ECON
EFFLUENT | EFF
EJECTOR | EJCTR
ELECTRIC | ELEC
ELECTRICAL | ELEC
ELECTRICALLY OPERATED | ELEC OP
ELECTRO | ELEC
ELECTRO - HYDRAULIC GOVERNOR | EHG
ELECTRONIC | ELEX
ELECTRONIC DEIONIZATION | EDI
ELEMENT | ELEM
EMERGENCY | EMRG
EMERGENCY DIESEL GENERATOR | EDG
EMERGENCY SHUTDOWN VALVE | XSV
EMERGENCY STOP VALVE | ESV
ENCLOSE | ENCL
ENCLOSED | ENCL
ENCLOSURE | ENCL
ENERGISE | ENRG
ENERGISED | ENRG
ENERGISING | ENRG
ENGINEERING | ENG
ENGINEERING WORK STATION | EWS
ENTRY | ENT
ENVIRONMENTAL | ENV
ENVIRONMENTAL | EV
EQUALISATION | EQUAL
EQUALISING | EQUAL
EQUIPMENT | EQUIP
ESSENTIAL | ESS
EVACUATING | EVAC
EVAPORATE | EVAP
EVAPORATION | EVAP
EVAPORATIVE | EVAP
EVAPORATOR | EVAP
EXCHANGE | EXCH
EXCHANGER | EXCH
EXCITATION | EXCIT
EXCITER | EXCIT
EXCITER END | EE
EXHAUST | EXH
EXHAUSTER | EXH
EXPANSION | EXP
EXPLOSION | EXPLSN
EXTENSION | EXTN
EXTERNAL | EXT
EXTINGUISHER | EXTS
EXTRA HIGH PRESSURE | EHP
EXTRACT | EXTR
EXTRACTION | EXTR
EXTRACTOR | EXTR
FAIL SAFE | FAILSF
FAILURE | FAIL
FASTENER | FSTNR
FAULT | FLT
FEED PUMP | FDPMP
FEED WATER | FW
FEEDER | FDR
FEEDWATER PUMP | FWP
FEMALE | FM
FIBRE OPTIC | FO
FIELD | FLD
FILTER | FLTR
FILTERED | FLTR
FILTRATION | FLTR
FINAL | FIN
FINISHED | FIN
FIRE BRIGADE ALARM | FBA
FIRE FIGHTING | FF
FIRE SUPPRESSION | FSUPN
FIRST | 1ST
FITTING | FTG
FLANGE | FLG
FLANGE ISOLATED KIT | FIK
FLASH BOX | FBOX
FLASH PLANT | FP
FLASH VESSEL | FLVES
FLEXIBLE | FLEX
FLOOR | FLR
FLOW | FLO
FLOW CONTROL VALVE | FCTV
FLOW INDICATOR | FI
FLOWMETER | FLOMTR
FLUID | FL
FLUORESCENT | FLUOR
FOLLOW | FOLL
FOLLOWER | FOLL
FORWARD | FWD
FORWARDING | FWD
FREQUENCY | FREQ
FUEL GAS | FG
FUNCTION | FUNC
FURNACE | FURN
FUSE | FS
FUSE BOARD | FS BD
GALVANISED | GALV
GAS CHROMATOGRAPH | GC
GAS EXHAUSTER | GE
GAS INSULATED SWITCHGEAR | GIS
GAS TURBINE | GT
GAS TURBINE END | GTE
GASKET | GSK
GATEWAY | GW
GAUGE | GG
GEAR | GR
GEAR BOX | GBOX
GENERAL | GNRL
GENERAL PURPOSE OUTLET | GPO
GENERATING UNIT | G
GENERATOR | GEN
GENERATOR CIRCUIT BREAKER | GCB
GENERATOR SET | GENSET
GEOTHERMAL | GEO
GEOTHERMAL GROUP CONTROL (WAIRAKEI) | GGC
GLAND | GLND
GLOBAL POSITIONING SYSTEM | GPS
GLOBE | GLB
GOVERNOR | GOV
GRADE | GRD
GRAVITY | GRV
GROOVE | GROV
GROOVED | GROV
GROUND | GND
GROUP | GP
HAWEA | HAW
HEAD | HD
HEADER | HDR
HEAT EXCHANGER | HT EXCH
HEAT RECOVERY STEAM GENERATOR | HRSG
HEATER | HTR
HEATING | HTG
HEXAGONAL | HEX
HIGH | HI
HIGH HIGH | HH
HIGH PRESSURE | HP
HIGH PRESSURE COMPRESSOR | HPC
HIGH PRESSURE SPRAY WATER | HPSW
HIGH PRESSURE TURBINE | HPT
HIGH TENSILE STEEL | HTS
HIGH VOLTAGE | HV
HOTWELL | HOTWL
HOUSING | HSNG
HUMAN/MACHINE INTERFACE | HMI
HUMIDIFIER | HUMFR
HUMIDITY | HUMY
HYDRANT | HYDT
HYDRAULIC | HYD
HYDRAZINE | N2H4
HYDROCHLORIC ACID | HCL
HYDROGEN | H2
HYDROGEN SULPHIDE | H2S
IDENTIFIER | IDENT
IDENTITY | IDENT
IGNITER | IGN
IGNITION | IGN
IMPEDANCE | Z
IMPELLER | IMPLR
IMPERIAL | IMP
IMPLOSION | IMPSN
INCANDESCENT | INCAND
INCLUDING | INCL
INCOMER | INC
INCOMING | INC
INCREASING | INCR
INDEPENDENT | INDEP
INDICATING | IND
INDICATION | IND
INDICATOR | IND
INDUCED DRAUGHT | I/D
INDUCTION | INDCTN
INFORMATION | INFO
INFORMATION MANAGEMENT SYSTEM | IMS
INHIBITOR | INH
INJECT | INJ
INJECTION | INJ
INJECTOR | INJ
INLET | IN
INLET GUIDE VANE | IGV
INNER | INR
INPUTS/OUTPUTS | I/O
INSPECTION | INSP
INSTALL | INSTL
INSTALLATION | INSTL
INSTRUMENT | INSTR
INSTRUMENTATION | INSTR
INSULATE | INSUL
INSULATION | INSUL
INSULATION RESISTANCE | IR
INSULATOR | INSUL
INTAKE | INTK
INTEGRATED | INTEG
INTEGRATED CONTROL MONITORING SYSTEM | ICMS
INTERCEPT/INTERCEPTOR | INTCPT
INTERCONNECTION | INTERCON
INTERCONNECTOR | INTERCON
INTERCOOLER | INTERCLR
INTERGATE | INTGTE
INTERMEDIATE | INTER
INTERMEDIATE PRESSURE | IP
INTERMEDIATE PRESSURE TURBINE | IPT
INTERNAL | INTL
INTERNAL DIAMETER | ID
INTERPOSING | INTPSG
INTERSTAGE | INTSTG
INVERTER | INV
INVESTIGATION | INVES
IONISATION | ION
IRON | FE
IRRIGATION | IRR
ISOLATED PHASE BUSBAR | IPB
ISOLATING | ISOL
ISOLATION | ISOL
ISOLATOR | ISOL
JACKING | JACK
JOINT | JNT
JOURNAL | JOUR
JUNCTION | JNCT
JUNCTION BOX | JB
KILOGRAM | KG
KILOPASCAL | KPA
KILOVOLT | KV
KILOWATT | KW
KILOWATT HOUR | KWH
LABEL | LBL
LABORATORY | LAB
LARGE | LGE
LAYDOWN | LYDWN
LEAKAGE | LKGE
LEAK-OFF | LK OFF
LEFT HAND | LH
LENGTH | LGTH
LEVEL | LVL
LEVEL CONTROL VALVE | LCV
LEVEL INDICATOR | LI
LEVEL TRANSMITTER | LT
LIFTING | LFTG
LIGHT | LGT
LIGHT EMITTING DIODE | LED
LIGHTING | LTG
LIMIT | LMT
LIMIT SWITCH | LS
LIMITED | LMT
LIMITING | LMT
LINE | LN
LIQUID | LIQ
LIQUID RING VACUUM PUMP | LRVP
LIQUIFIED PETROLEUM GAS | LPG
LITHIUM | LITH
LOCAL | LCL
LOCAL AREA NETWORK | LAN
LOCAL CONTROL PANEL | LCP
LOW LOW | LL
LOW PRESSURE | LP
LOW PRESSURE COMPRESSOR | LPC
LOW VOLTAGE | LV
LOWER | LWR
LUBE OIL | LO
LUBE OIL PUMP | LOPMP
LUBRICATE | LUBE
LUBRICATING | LUBE
LUBRICATION | LUBE
MACHINE | MACH
MAGNET | MAG
MAGNETIC | MAG
MAIN | MN
MAIN COOLING WATER | MCW
MAIN STOP VALVE | MSV
MAINTENANCE | MAINT
MAKE UP | MU
MALE | ML
MAN MACHINE INTERFACE | MMI
MANAGEMENT | MGMT
MANAGEMENT SYSTEM DISTRIBUTION BOARD | MSDB
MANHOLE | MNHL
MANIFOLD | MFLD
MANUAL | MAN
MARSHALLING | MRSHG
MASONRY | MSNRY
MASTER | MSTR
MATURATION | MATUR
MAXIMUM | MAX
MAXIMUM CONTINUOUS RATING | MCR
MEASURE | MEAS
MEASURED | MEAS
MEASUREMENT | MEAS
MEASURING | MEAS
MECHANICAL | MECH
MECHANISED | MECH
MECHANISM | MECH
MEDIUM | MED
MEDIUM PRESSURE | MP
MEDIUM VOLTAGE | MV
MEGA VOLT AMPERE | MVA
MEGAPASCAL | MPA
MEGAVAR | MVAR
MEGAWATT | MW
MEGAWATT HOUR | MWH
MERCURY | HG
METEOROLOGICAL | MET
METERING | METER
METHANOL | MEOH
METRE | M
METRIC | MTC
MIDDLE | MID
MINERAL LUBE OIL | MLO
MINIATURE | MINI
MINIATURE CIRCUIT BREAKER | MCB
MINIMUM | MIN
MISCELLANEOUS | MISC
MIXED | MX
MIXED BED | MXBED
MIXER | MXR
MIXING | MIX
MOBILE | MOB
MOBREY | MBRY
MODULATING | MOD
MODULE | MOD
MOISTURE | MOIS
MONITOR | MONTR
MONITORING | MONTRG
MONITORING STEAM FIELD | WK02
MONTH | MTH
MONTHLY | MLY
MORSE TAPER | MT
MOTIVE FLUID | MF
MOTOR | MTR
MOTOR CONTROL CENTRE | MCC
MOTOR PROTECTION RELAY | MPR
MOTORISED | MTR
MOULDED CASE CIRCUIT BREAKER | MCCB
MOVING | MVG
MULTI MEDIA FILTER | MMFLTR
MULTIPLE | MULTI
NATIONAL COARSE | NC
NATIONAL FINE | NF
NATIONAL PIPE THREAD | NPT
NEEDLE | NDL
NEGATIVE | NEG
NETWORK | NTWRK
NEUTRAL | NEUT
NEUTRALISING | NEUT
NIGHT TIME HEATING | NITH
NITROGEN | N2
NON DRIVE END | NDE
NON RETURN VALVE | NRV
NORMAL | NORM
NORMALLY CLOSED | N/C
NORMALLY OPEN | N/O
NORTH | NTH
NORTHERN | NTH
NOZZLE | NOZ
NUMBER | NO
OFFICE | OFF
OHAAKI MONITOR & WATER LEVEL FIELD | BR02
OHAAKI POWER STATION | OKI
OIL CIRCUIT BREAKER | OCB
ONCE THROUGH COOLER | OTC
ON-LOAD TAP CHANGER | OLTC
OPERATING | OPER
OPERATION | OPER
OPERATIONS | OPS
OPTICAL | OPT
ORIFICE | ORF
ORMAT ENERGY CONVERTER | OEC
OTAHUHU COMBINED CYCLE | OTC
OTAHUHU GAS TURBINE STATION | OTG
OTAHUHU PLANT | OTA
OUTLET | OUT
OUTPUT | OUTP
OUTSIDE DIAMETER | OD
OVERCURRENT | O/C
OVERFLOW | OFLO
OVERHAUL | OVHL
OVERHEAD | OH
OVERLOAD | O/L
OVERRIDE | ORIDE
OVERSPEED | OSPD
OXYGEN | O2
PACKAGE | PKG
PACKAGING | PKG
PAIRED | PRD
PANEL | PNL
PARALLEL | PAR
PEDESTAL | PED
PENSTOCK | PNSTK
PENTANE | PENT
PERMISSIVE | PERMIS
PERSONAL COMPUTER | PC
PHASE | Ø
PHOSPHATE | PO4
PHOSPHONATE | PHSPHNTE
PHOSPHORIC ACID | H3PO4
PHYSICAL | PHYS
PILLOWS | PWS
PIPE | PIPE
PIPELINE | PIPE
PIPEWORK | PIPEWK
PIPING | PIPE
PLANT | PLT
PLASTIC | PLAST
PLATFORM | PLTFM
PLENUM | PLNM
PLUNGER | PLGR
PNEUMATIC | PNEU
POIHIPI POWER STATION | PPI
POIHIPI ROAD | PPI RD
POIHIPI STEAMFIELD | WK01
POINT | PNT
POLISHED | POL
POLISHER | POL
POLISHING | POL
POLYMER | PLYMR
POLYPROPYLENE | PP
POLYTHENE/POLYETHYLENE | PE
PORTABLE | PORT
PORTABLE PUMP CONNECTION | PPC
POSITION | POSN
POSITIONER | POSN
POSITIVE | POS
POTENTIAL | POT
POTENTIAL HYDROGEN | PH
POTENTIOMETER | POT
POWDER | PWD
POWER | PWR
POWER CONTROL MODULE | PCM
POWER SYSTEM STABILISER | PSS
POWER TURBINE | PWT
PREHEAT | PREHT
PREHEATER | PREHTR
PRESSURE | PRESS
PRESSURE CONTROL VALVE | PCV
PRESSURE DIFFERENTIAL INDICATION | PDI
PRESSURE INDICATION TRANSMITTER | PIT
PRESSURE INDICATOR | PI
PRESSURE REDUCING VALVE | PRV
PRESSURE SAFETY VALVE | PSV
PRESSURE TRANSMITTER | PT
PRESSURISING | PRESS
PRETREATED WATER | PRETW
PRIMARY | PRIM
PRIMARY FREQUENCY INFLUENCE | PFI
PRIMING | PRMG
PRINTED CIRCUIT BOARD | PCB
PRIORITY | PRI
PRODUCTION | PROD
PROGRAMMABLE CONTROLLER | PLC
PROGRAMMABLE LOGIC CONTROLLER | PLC
PROTECTION | PROT
PROXIMITY | PROX
PUBLIC ADDRESS | PA
PUMP | PMP
PUMPSET | PMPSET
PURGE | PRG
PURIFICATION | PURFICN
PURIFIER | PURFR
RADIATOR | RAD
RADIO | RDO
RAW WATER | RW
REACTIVE | REACT
RECEIVER | RECV
RECEIVING | RECV
RECERTIFICATION | RECERT
RECIPROCATING | RECIP
RECIRCULATE | RECIRC
RECIRCULATED | RECIRC
RECIRCULATING | RECIRC
RECIRCULATION | RECIRC
RECORDER | REC
RECORDING | REC
RECOVERY | RECOV
RECTIFIER | RECT
RECUPERATOR | RECUP
RED PHASE | RØ
REDUCER | RED
REDUCING | RED
REDUCTION | RED
REFERENCE | REF
REFRIDGERATOR | REFRG
REFRIGERATING | REFRG
REFRIGERATOR | REFRG
REGENERATING | REGEN
REGENERATION | REGEN
REGENERATOR | REGEN
REGULATING | REG
REGULATION | REG
REGULATOR | REG
REHEAT | RHT
REHEATER | RHTR
REINJECTION | REINJ
RELATED | REL
RELATIVE | REL
RELAY | RLY
RELEASE | RELSE
RELIEF | RLF
REMOTE | REM
REMOTE TERMINAL UNIT | RTU
REMOVAL | RMOVL
REPEATER | REPTR
REPLACE | REPL
REPORT | RPT
REQUIRED | REQD
RESERVE | RESVE
RESERVOIR | RESVR
RESETTING | RESET
RESIDUAL | RESID
RESIDUAL CURRENT DEVICE | RCD
RESIDUE | RESID
RESISTANCE TEMPERATURE DEVICE | RTD
RESISTER | RES
RESTRICTION ORIFICE | RORF
RESTRICTOR | RESTR
RETICULATION | RETIC
RETRACTABLE | RETRCT
RETURN | RTN
REVERSE | RVRS
REVERSE OSMOSIS | RO
REVERSING | RVRS
REVOLUTIONS | REVS
REVOLUTIONS PER MINUTE | RPM
RIGHT ANGLE | 90DEG
RIGHT HAND | RH
RING JOINT | RJ
ROAD | RD
ROCK CATCHER | RKCTCR
ROLLER | RLR
ROOM | RM
ROTARY | RTRY
ROTOR | RTR
ROXBURGH POWER STATION | ROX
RUNNING | RUN
SAFE WORKING LOAD | SWL
SAFETY | SFTY
SAMPLE | SMPL
SAMPLER | SMPLR
SAMPLING | SMPLG
SATURATED | SAT
SATURATION | SAT
SCANNED | SCAN
SCANNER | SCAN
SCREEN | SCRN
SCRUBBER | SCRUB
SEAL OIL PUMP | SOPMP
SEAL WATER | SLWTR
SEALING | SLG
SECOND | 2ND
SECONDARY | SEC
SECONDARY SUPER HEATER | SSHTR
SECTION | SECT
SECTIONAL | SECT
SECTIONALISING | SECT
SEDIMENTATION | SEDMTN
SELECT | SEL
SELECTED | SEL
SELECTION | SEL
SELECTOR | SEL
SELF ALIGNING | SA
SENSOR | SEN
SEPARATED GEOTHERMAL WATER | SGW
SEPARATION | SEP
SEPARATOR | SEP
SEQUENCE | SEQ
SEQUENTIAL ENVIRONMENTAL | SEV
SERVICE | SERV
SERVICES | SERV
SERVOMOTOR | SERVO
SEWAGE | SWGE
SEWERAGE | SWGE
SHAFT | SHFT
SHANK | SHK
SHOWER | SHWR
SHUT | SHT
SHUT OFF | SHTOF
SHUTDOWN | SHTDN
SIGHT GLASS | SGT GL
SIGNAL | SIG
SIGNAL CONDITIONING | SIG CON
SILENCER | SIL
SINGLE | SGL
SLIDE | SLD
SLUDGE | SLDG
SLUICE | SLCE
SMOKE | SMK
SMOKE DETECTOR | SMKDET
SOCKET | SCKT
SODIUM | NA
SODIUM HYPOCHLORITE | NAOCL
SODIUM SULPHITE | NA2SO3
SOLENOID | SOL
SOLUTION | SOLN
SOUTH | STH
SPARK | SPK
SPECIAL | SPCL
SPECIAL PURPOSE OUTLET | SPO
SPECIALISED | SPCL
SPECIFIC GRAVITY | SG
SPEED | SPD
SPHERICAL | SPHER
SPINDLE | SPDL
SPRAY | SPR
SPRINKLER | SPKLR
SPROCKET | SPRKT
SQUARE | SQ
STABILISED | STAB
STABLE | STAB
STABREX | STBRX
STAGE | STG
STAINLESS STEEL | SS
STANDARD | STD
STANDARDISING | STD
STANDBY | STBY
STARTER | STRT
STARTING | STTG
STATIC FREQUENCY CONVERTER | SFC
STATIC STARTING DEVICE | SSD
STATION | STN
STATION CONTROL SYSTEM | SCS
STATION SHUT | STNSHT
STATIONARY | STNRY
STATOR | STAT
STEAM | STM
STEAM TRAP | STMTRP
STEAM TURBINE | ST
STEAM TURBINE END | STE
STEAMFIELD | STMFLD
STIRRER | STIR
STOP VALVE | SV
STOPLOG | SLOG
STORAGE | STRG
STRAIGHT | STR
STRAINER | STRNR
STRATFORD | SFD
STRATFORD PEAKER PLANT | SPP
STRATFORD POWER LTD | SPL
STREAM | STRM
STRUCTURAL | STRCT
STRUCTURE | STRCT
STUFFING BOX | STUFBOX
SUBDISTRIBUTION | SUBDIST
SUBMERSIBLE | SUBMSBLE
SUCTION | SUCT
SULPHURIC ACID | H2SO4
SUPER HIGH PRESSURE | SHP
SUPERCORE | SPRCR
SUPERHEAT | SH
SUPERHEATER | SHTR
SUPERVISE | SUPV
SUPERVISION | SUPVN
SUPERVISOR | SUPVR
SUPERVISORY | SUPVY
SUPERVISORY CONTROL AND DATA ACQUISITION | SCADA
SUPPLY | SPLY
SUPPORT | SUPT
SUPPRESSION | SUPN
SURFACE | SURF
SURGE | SRG
SURGE ARRESTOR | SRGA
SURGE DIVERTER | SRGD
SURVEY | SURV
SWITCH | SW
SWITCHBOARD | SWBD
SWITCHGEAR | SWGR
SWITCHROOM | SWRM
SWITCHYARD | SWYD
SYNCHRO SELF SHIFTING | SSS
SYNCHRONISATION | SYNCH
SYNCHRONISING | SYNCH
SYNTHETIC LUBE OIL | SLO
SYSTEM | SYS
TACHOMETER | TACH
TAIL WATER DEPRESSION | TWD
TAKE-OFF | TK OFF
TANK | TNK
TANKER | TNKR
TAP CHANGE | TAP CHG
TAPER | TPR
TAPERED | TPR
TAPPING | TAP
TARANAKI COMBINED CYCLE | TCC
TAUHARA MONITOR WELL FIELD | TH02
TAUHARA STEAMFIELD | TH00
TE HUKA | TAA
TE MIHI | THI
TE MIHI STEAMFIELD | TSF
TE RAPA POWER STATION | TRC
TELEMETER | TELEM
TELEMETRY | TELEM
TELEPERM | TELEPRM
TELEPHONE | TEL
TELEVISION | TV
TEMPERATURE | TEMP
TEMPERATURE ELEMENT | TE
TEMPERATURE INDICATION TRANSMITTER | TIT
TEMPERATURE INDICATOR | TI
TEMPORARY | TMPRY
TENON HEAT PLANT | TEN
TENSION | TNS
TERMINAL | TERM
TERMINATION POINT | TERMPT
TERTIARY | TERT
TERTIARY SUPER HEATER | TSHTR
THERMAL | THRML
THERMOCOUPLE | T/C
THERMOSTAT | THSTAT
THERMOWELL | THW
THREAD | THRD
THREADS PER INCH | TPI
THRUST | THR
THYRISTOR | THYSTR
TILTING | TLT
TIMING | TMG
TINNED | TND
TORQUE | TORQ
TOTAL | TOT
TOTAL ORGANIC CARBON | TOC
TOWER | TWR
TRAIN | TRN
TRANSDUCER | TRNSDR
TRANSFER | TRFER
TRANSFORMER | TFMR
TRANSFORMER UNIT | T
TRANSIENT | TRNT
TRANSISTOR | TRNSTR
TRANSMISSION | TRANSM
TRANSMITTER | TX
TRAP BANK | TRPBNK
TREATED WATER | TW
TREATMENT | TREAT
TUAHARA B | TAB
TUAHARA C | TAC
TUBING | TUBE
TURBIDITY | TBDTY
TURBINE | TURB
TURBINE CONTRL PANEL | TCP
TURBINE GAUGE BOARD | TGB
TURBINE STOP VALVE | TSV
TURBOVISORY | TURBVY
TURNING | TURN
TURNING GEAR | TURNGR
ULTRA HIGH FREQUENCY | UHF
ULTRA VIOLET | UV
UNDER | UNDR
UNDER VOLTAGE | U/V
UNDERPASS | UPASS
UNIFIED NATIONAL COARSE | UNC
UNINTERUPTIBLE POWER SUPPLY | UPS
UNIT | U
UNTHREADED | UNTHRD
UPPER | UPR
UPSTREAM | UPSTRM
UTILITY | UTL
VACUUM | VAC
VACUUM CIRCUIT BREAKER | VCB
VALVE | VLV
VALVING | VLV
VAPOUR | VAP
VAPOURISER | VAP
VARIABLE BLEED VALVE | VBV
VARIABLE SPEED DRIVE | VSD
VARIABLE STATOR VANE | VSV
VEHICLE | VEH
VELOCITY | VEL
VENT | VNT
VENTILATE | VENT
VENTILATING | VENT
VENTILATION | VENT
VENTILATOR | VENT
VERY HIGH FREQUENCY | VHF
VESSEL | VES
VIBRATION | VIB
VIDEO MONITOR | VID MON
VISUAL | VIS
VISUAL DISPLAY UNIT | VDU
VOLT | V
VOLT AMPERE REACTIVE | VAR
VOLTAGE | V
VOLTAGE DETECTION DEVICE | VDD
VOLTAGE TRANSFORMER | VT
VOLUME | VOL
WAIRAKEI POWER STATION | WRK
WAIRAKEI STEAMFIELD | WK00
WARMING | WARM
WARNING | WARN
WASHER | WSHR
WATER | WTR
WATER STEAM CYCLE | WSC
WATER TRAP | WTRP
WATER TREATMENT PLANT | WTP
WATERBOX | WBOX
WATT | W
WEIGHT | WT
WEIR BOX | WEIRBX
WELDING | WLDG
WELL STREAM | WSM
WELLHEAD PRESSURE | WHP
WHIRINAKI POWER STATION | WHI
WHITE PHASE | WØ
WIDE AREA NETWORK | WAN
WIDTH | WDTH
WINTERIZATION | WNTZN
WITH | W/
WORKSHOP | WKSHP
YEAR | Y
YELLOW PHASE | YØ